# Vista Redonda Mutual Domestic Water Consumers Association NM #3536126 2017 Water Quality Report

## Is my water safe?

We are pleased to present this year's Annual Water Quality Report (Consumer Confidence Report) as required by the Safe Drinking Water Act (SDWA). This report is designed to provide details about where your water comes from, what it contains, and how it compares to standards set by regulatory agencies. This report is a snapshot of last year's water quality. We are committed to providing you with information because informed customers are our best allies. Last year, we conducted tests for over 80 potential contaminants. We only detected 9 of those contaminants, and recorded only 1, for alpha emitters, at a level higher than the EPA allows. (For more information see the section labeled Violations at the end of the report.) The issue regarding alpha emitters has been resolved. There are currently no outstanding violations, and the NMED considers that our water supply is in full compliance with all applicable standards.

## Do I need to take special precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Water Drinking Hotline (800-426-4791).

## Where does my water come from?

Vista Redonda currently has six (6) producing wells--hundreds of feet deep--drawing from the Tesuque formation. The Association controls the land around the wells which provides good protection from surface contamination.

## Source water assessment and its availability

USGS (and other hydrogeological) studies of the area indicate that the quality of the aquifer below Vista Redonda is high and should provide an adequate supply of water for years to come.

## Why are there contaminants in my drinking water?

## Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's (EPA) Safe Drinking Water Hotline (800-426-4791). The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. Examples of human activities are: microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife; inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm-water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm-water runoff, and residential uses; organic Chemical Contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm-water runoff, and septic systems; and radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

## How can I get involved?

If you would like to be involved in the operations of the system-including decisions regarding water quality-you are invited to attend any of our open board meetings, held quarterly, or our annual meeting in July. Meeting dates and venues are distributed via e-mail and posted on our website at vistaredonda.net. Alternatively you can contact me or any member of our board at any time.

## Additional Information for Lead

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Vista Redonda Mutual Domestic Water Consumers Association is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

## Additional Information for Arsenic

While your drinking water meets EPA's standard for arsenic, it does contain low levels of arsenic. EPA's standard balances the current understanding of arsenic's possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.

### Water Quality Data Table

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of contaminants in water provided by public water systems. The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. Although many more contaminants were tested, only those substances listed below were found in your water. All sources of drinking water contain some naturally occurring contaminants. At low levels, these substances are generally not harmful in our drinking water. Removing all contaminants would be extremely expensive, and in most cases, would not provide increased protection of public health. A few naturally occurring minerals may actually improve the taste of drinking water and have nutritional value at low levels. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not vary significantly from year to year, or the system is not considered vulnerable to this type of contamination. As such, some of our data, though representative, may be more than one year old. In this table you will find terms and abbreviations that might not be familiar to you. To help you better understand these terms, we have provided the definitions below the table.

| **Contaminants** | **MCLG or MRDLG** | **MCL, TT, or MRDL** | **Detect In Your Water** | **Range** | | **Sample Date** | **Violation** | **Typical Source** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Low** | **High** |
| **Inorganic Contaminants** | | | | | | | | |
| Arsenic (ppb) | 0 | 10 | 7.8 | 2 | 7.8 | 2017 | No | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes. |
| Barium (ppm) | 2 | 2 | .11 | .042 | .11 | 2017 | No | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Fluoride (ppm) | 4 | 4 | .27 | .16 | .27 | 2017 | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate [measured as Nitrogen] (ppm) | 10 | 10 | 1 | .67 | 1 | 2017 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Selenium (ppb) | 50 | 50 | 2.7 | 1.1 | 2.7 | 2017 | No | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines. |
| **Radioactive Contaminants** | | | | | | | | |
| Alpha emitters (pCi/L) | 0 | 15 | 40.6 | 22.5 | 40.6 | 2017 | Yes | Erosion of natural deposits. |
| Radium (combined 226/228) (pCi/L) | 0 | 5 | .78 | .78 | .78 | 2017 | No | Erosion of natural deposits. |
| Uranium (ug/L) | 0 | 30 | 27 | 27 | 27 | 2017 | No | Erosion of natural deposits. |
| **Synthetic organic contaminants including pesticides and herbicides** | | | | | | | | |
| Di (2-ethylhexyl) phthalate (ppb) | 0 | 6 | 1.57 | NA | 1.57 | 2017 | No | Discharge from rubber and chemical factories. |

| **Violations and Exceedances** |
| --- |
| **Alpha emitters** Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. In early 2017 the Association was issued a violation for exceeding the gross alpha standard in well 4. This citation is noted above, However, as a result of subsequent discussions with the NMED, the Drinking Water Bureau has revised the protocol of how to determine the level of gross alpha when compared against the EPA standard. This revision had to do with the weightings of different isotopes of uranium in the calculation procedure. The NMED currently considers well 4 to be in compliance. |

| **Unit Descriptions** | |
| --- | --- |
| **Term** | **Definition** |
| ug/L | ug/L : Number of micrograms of substance in one liter of water |
| ppm | ppm: parts per million, or milligrams per liter (mg/L) |
| ppb | ppb: parts per billion, or micrograms per liter (µg/L) |
| pCi/L | pCi/L: picocuries per liter (a measure of radioactivity) |
| NA | NA: not applicable |
| ND | ND: Not detected |
| NR | NR: Monitoring not required, but recommended. |

| **Important Drinking Water Definitions** | |
| --- | --- |
| **Term** | **Definition** |
| MCLG | MCLG: Maximum Contaminant Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |
| MCL | MCL: Maximum Contaminant Level: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| TT | TT: Treatment Technique: A required process intended to reduce the level of a contaminant in drinking water. |
| AL | AL: Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |
| Variances and Exemptions | Variances and Exemptions: State or EPA permission not to meet an MCL or a treatment technique under certain conditions. |
| MRDLG | MRDLG: Maximum residual disinfection level goal. The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| MRDL | MRDL: Maximum residual disinfectant level. The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| MNR | MNR: Monitored Not Regulated |
| MPL | MPL: State Assigned Maximum Permissible Level |

| **For more information please contact:** |
| --- |

Contact Name: David Rule  
Address: PO Box 375  
Tesuque, NM 87574  
Phone: 505-982-2832